## Sheet1
0.99992 | Net Monthly Cash Flow |  |  | Tiered Price | Unit | Price at Tier | Description of Price
10.13% | DCFROR |  | First | 10950000 | kWh | 0.04752 | Price per kWh upto 10950000kWh
2 | Systems |  | Between | 21900000 | kWh | 0.04752 | Price per kWh Between 10950000kWh and 21900000kWh
31 | Days per Month |  | Above |  |  | 0.04752 | Price per kWh above 21900000kWh
17000 | BTC Price | [5 empty] | per kW of Billing Demand
4500 | Miner Cost |  |  |  |  | 1000 | Basic Charge
5 | Years
1 | EE per Month |  |  |  |  | 3760473.6 | kwh/month
50000 | EE cost per Month |  |  |  | Energy Charge | 178697.7055 | 99.44%
[5 empty] | Demand Charge | 0 | 0%
500000 | Property Cost |  |  |  | Base Charge | 1000 | 0.5565%
35% | Installation Factor |  |  |  | Total | 179697.7055 | 100%
110 | Terahash/s |  |  |  |  | 351 | 240V Amps
100% | Terahash Inefficiency |  |  |  |  | 250.7143 | 480V Safety Amp Rating per Panel
9.29e-06 | BTC/Terahash |  | 84240 | 84.24 |  | 84.24 | KW/Panel
12 | Panels Per System |  |  | 29.6771 |  | 0.08424 | MW/Panel
27 | Miners Per Panel |  |  |  |  | 2021.76 | KW Total
324 | Miners Per System |  |  |  |  | 2.0218 | MW Total | 27
1 | Transformers Per Panel |  |  |  |  | 648 | Miners
12 | Transformers Per System |  |  |  |  | 0.0010219 | BTC/Day/Unit
13 | Amps per S19 |  |  |  |  | 0.66219 | BTC/Day
240 | V |  |  |  |  | 348974.7624 | $ Generated by Sale of BTC/Month
20% | Energy Inefficiency |  |  |  |  | 1656492 | Capital Cost/System
[6 empty] | 2548449.2308 | Capital with Installation
[6 empty] | 5596898.4615 | Total Cost
[6 empty] | -119276.057 | PMT of DCCFROR
|  | BTC Price That Justifies Solar Rates and Hours |  |  |  | -179697.7055 | Electricy Bill at MW Estimated
65kBTC 18DCFROR 30% Terahash Inefficiency
3000KVA | 175000
75KVA Transformer | 2789 | MIT-DRY-111
112.5KVA Transformer | 3946 | MIT-DRY-113
150KVA Transformer | 4975 | MIT-DRY-114
75KVA Transformer | 5125 | MIT-DRY-111-CU
112.5KVA Transformer | 6454 | MIT-DRY-113-CU | [5 empty] | per kW of Billing Demand
150KVA Transformer | 8541 | MIT-DRY-114-CU
Custom UL Panel Build | 8000
Net0 based on DCFROR